| Proposed Work Methodology |  |
| --- | --- |
| Work Party |  |
| Location |  |
| Description of work |  |

| Review of Proposed Procedures & Equipment |  |  |
| --- | --- | --- |
| Mandatory Requirements |  |  |
| Hazard | Control Measure | Checked |
| Unidentified Job Specific Hazards | JHA or SWMS to be carried out by Worker’s detailing ‘On the Day’ Hazards that could not be practically assessed prior to attending Site in addition to this “CHECKLIST”. All Workers to sign on to JHA or SWMS accepting this form and the ‘On the Day’ Hazards and Controls. JHA or SWMS has been completed and approved by the relevant Workers in accordance with WNH Q14 Risk Management Procedure. |  |
| Lack of Site preparation | Excavation / Penetration work is covered by a Concealed Services Permit and Permit to Work |  |
|  | Precise location of all Concealed Services, buried pipe work, structures, foundations, electrical equipment, cabling, or hazardous materials are identified and clearly marked to prevent damage during the work |  |
| Specific Hazards-Lack of awareness of local asset & other. Simultaneous Operations? | PIC / AIO / PM to notify work party of ALL Assets in area (including Protection PLC, Mechanical, Electrical and Civil Assets). Work party to inspect and make safe. |  |

| EXCAVATION OR PENETRATION METHOD |  |  |
| --- | --- | --- |
|  |  | Required sections |
| Ground excavating, blasting & auguring |  | A and B |
| Drilling, coring & concrete cutting |  | A and C |
| Cutting of pipework |  | A and D |
| Other (provide details) |  | As required |

| Section A. General Requirements and Planning |  |  |  |
| --- | --- | --- | --- |
| Hazard | Control Measure | N/A | Checked |
| Incorrect Planning | Excavation / Penetration work is covered by a Concealed Services Permit and Permit to Work |  |  |
|  | JHA or SWMS (including any environmental impacts) complete and understood by work party |  |  |
|  | The stability of any building, structure, road or way (driveway, foundation, & footpath) is ensured by implementing approved Control Measures before work starts |  |  |
|  | There is adequate lighting at the Worksite |  |  |
|  | There is adequate ventilation in the Worksite |  |  |
|  | Requirements for water and dust control have been implemented |  |  |
|  | Agreed PPE for the task is being worn |  |  |
|  | High Risk activities are adequately supervised |  |  |
| Isolation of services | All services in the immediate vicinity of the Worksite and / or those that can be isolated have been. |  |  |
| Not using the Concealed services procedure | Working in Hazardous Environments Procedure checked |  |  |
|  | Concealed Services Permit issued |  |  |
|  | Existing drawings checked for presence of services |  |  |
|  | Dial Before You Dig enquiry carried out |  |  |
|  | Electronic survey complete |  |  |
|  | Visual survey of Site complete |  |  |
|  | All services confirmed marked onto a current drawing and available onsite |  |  |
|  | Services marked onsite as per the Concealed Services Procedure |  |  |
| Unclear scope of work | Clear & defined scope of works supplied & understood by the work party prior to any works commencing |  |  |
|  | Agreed methodology on how services are to be located and dug around e.g. pot hole with shovel etc. |  |  |
|  | All Workers are competent in their role |  |  |
|  | Additional Hazards identified and JHA or SWMS or EIA altered to reflect scope change |  |  |
|  | Additional Hazards identified have appropriate Control Measures implemented immediately |  |  |
|  | All procedures clearly communicated and understood by all the work party |  |  |
|  | Prestart meeting conducted prior to the task commencing |  |  |

| Section B. Excavation |  |  |  |
| --- | --- | --- | --- |
| Hazard | Control Measure | N/A | Checked |
| Mobile plant Other plant (e.g. excavators, rollers, tractors) | Daily operator Checklists available for use |  |  |
|  | Correct plant for the task |  |  |
|  | Seat belts fitted |  |  |
|  | Visual check of mechanical condition / cleanliness |  |  |
|  | No hydraulic leaks |  |  |
|  | Ground engaging wear parts serviceable |  |  |
|  | Lifting points properly engineered and sound |  |  |
|  | Condition and cleanliness |  |  |
| Static electricity | Earthing of equipment |  |  |
|  | Suspend operations if necessary |  |  |
| Contaminated soils | Environmental procedure for disposal in place |  |  |
| Unstable / uneven ground | Site preparation before work |  |  |
| Collapse of earth walls | Excavations greater than 1.5m in depth are shored and / or battered |  |  |
|  | Geotechnical Engineer’s Report obtained for all excavations greater than 1.5m deep without shoring / benching / battering |  |  |
| Falls into excavations | Restricted access to the Worksite |  |  |
|  | Concealed Services Permit required |  |  |
| Unauthorised access | Restrict access / signs / barricades |  |  |
|  | Barricades to be set back 2m from edge if not solid or greater than 1 m high |  |  |
| Working alone | Safety Observer required at all times |  |  |
| Lack of Coordination | PIC / Site Supervisor to supervise or delegate responsibility, when Workers are working in trench |  |  |
|  | PIC to notify Site Supervisor of date and time of blast(s) |  |  |
|  | PIC/ Site Supervisor to notify Gen. Ops. of date and time of blast(s) |  |  |
|  | Contractor to have direct communication with PIC / Site Supervisor |  |  |
| Working around Excavations | All Workers are in a position to be seen by the operator when working in excavations |  |  |
|  | Another Worker is in the immediate vicinity of a Worker working in a 1.5m (or greater) excavated area |  |  |
|  | Workers are keeping clear of all earth moving machinery and are not working on embankments or slopes below equipment |  |  |
|  | If trench stability becomes uncertain, work shall stop immediately until deemed safe by an engineer or competent person |  |  |
|  | If unattended, excavations use secure covers or barricades to prevent Workers falling in |  |  |
|  | Safe access is provided out of, and across, excavations & Workers are not taking shortcuts |  |  |
|  | There is at least one access / exit ladder for every 9m of trench length |  |  |
|  | Trenches are barricaded at least 1m high to highlight the Hazard |  |  |
|  | Engine-driven plant is at least 10m from excavation during excavation occupancy |  |  |
|  | Equipment and excavated material is not placed closer than 1.5 times the depth of any excavation if deeper than 1 m to prevent cave-in or material falling in |  |  |
|  | ‘Mechanical removal of material’ cannot be carried out less than 1m of a ‘positive service location’ (i.e. location by exposure of service or using an electronic location device), without additional controls in place and approval by Site Supervisor |  |  |
|  | Only ‘hand tool removal of material’ used within 0.4m of a Concealed Service |  |  |
|  | Benches and batters are in accordance with accepted industry standards |  |  |
|  | Warning lights and signs provided where necessary, especially at night and during inclement weather |  |  |
|  | Groundwater considered and correctly sized dewatering pumps available |  |  |
|  | Site inspections are conducted and documented on an as-needed basis to check for evidence of Hazardous conditions e.g. after a rainstorm |  |  |
|  | Sheeting and shoring is regularly inspected |  |  |
|  | Backfill is not carried out until authorisation has been provided to do so |  |  |

| Section C. Drilling, Coring and Concrete Cutting |  |  |  |
| --- | --- | --- | --- |
| Hazard | Control Measure | N/A | Checked |
| Drilling into walls and floors with limited knowledge of services | Attempt to locate services where possible |  |  |
|  | Correct plant or equipment for the task |  |  |
|  | Condition and cleanliness of plant or equipment |  |  |
|  | Equipment test and tagged |  |  |
|  | Inspection (pilot) hole planned to confirm location of services behind or embedded within the wall |  |  |
|  | Length of drill bit reduced or marked to mitigate risk of over depth drilling |  |  |
|  | Service locations considered before drilling a hole for installing a mechanical anchor to brace the core drill. |  |  |
|  | For drilling in the immediate vicinity of services, consider the use of earth leakage circuit breakers on power leads, double insulated tools, electrically rated gloves and footwear, or rubber mats. |  |  |
|  | Check drill holes frequently for signs of obstructing material |  |  |

| Section D. Cutting of pipework |  |  |  |
| --- | --- | --- | --- |
| Hazard | Control Measure | N/A | Checked |
| Cutting of pipe work with limited knowledge of services within | Attempt to locate services where possible |  |  |
|  | Correct plant or equipment for the task |  |  |
|  | Condition and cleanliness of plant or equipment |  |  |
|  | Confirmed the purpose for the pipe work (i.e. electrical, water, air, etc.) |  |  |
|  | All inflows have been isolated |  |  |
|  | Can the pipe work be dismantled and the services within the pipe work checked to confirm with drawing. |  |  |
|  | Can pipe work and saw be earthed |  |  |

| Site Registration (Note: Applies to all work parties and Workers working on Site) |  |  |
| --- | --- | --- |
| Requirement | N/A | Checked |
| Permit To Work issued (if required) |  |  |
| WNR Training and Inductions completed as per job and work area requirements; General Induction, HSE Induction, Site Induction, Restricted Area Training, Isolation Training, Permit to Work Training, PTW Leadership Training (PIC, AIO & PM) |  |  |

| Additional Personal Protective Equipment (Compliant with Australian Standards) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Requirement | Checked | Requirement | Checked | Requirement | Checked |

| Certification |  |  |
| --- | --- | --- |
| I have personally checked and verified all items on all pages of this checklist |  |  |
| AIO/WNR Job Manager Name | Signature | Date |
| I acknowledge and agree that all items are detailed on all pages of this Checklist. I agree to ensure that all Workers including sub-contractors engaged in this work will fully comply with all Control Measures indicated |  |  |
| PIC/AIO/PM Name | Signature | Date |

| Daily Review |  |  |
| --- | --- | --- |
| If There is a significant change in Work and or Conditions a new Checklist is Required |  |  |
| Date and Time | Reviewed / Comment | New Checklist Required |