| Permit to Work ID No. (if used) |  | PTW ____________ / _____ |  |
| --- | --- | --- | --- |
| Location / equipment / Worksite |  |  |  |
| Brief description / scope of work ( attach more detailed scope if required ) |  |  |  |
| Requested / planned date and duration of work | Date: |  | Duration: |

| Tools or equipment to be used……… |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Yes | No |  | Yes | No |  | Yes | No |
| Backhoe |  |  | Jack hammer |  |  | Shovel |  |  |
| Excavator |  |  | Jack pick |  |  | Pick or crowbar |  |  |
| Ditch witch |  |  | Circular saw |  |  | Other (specify) |  |  |
| Auger |  |  | Drill or core |  |  |  |  |  |
| Requested by: |  |  |  |  |  |  |  |  |
|  | (Name – print) |  |  |  |  | (Company) |  |  |

| Key Controls required ( Take 5 and/or JHA and/or SWMS to be used to identify Key Controls) |  |  |
| --- | --- | --- |
| Key Control | Yes/No | Sign |
| JHA or SWMS (mandatory) |  |  |
| Existing drawings checked for presence of Concealed Services in work vicinity |  |  |
| Dial Before You Dig inquiry has been completed minimum 5 days before excavation |  |  |
| Advice sought from Asset Owner representative |  |  |
| Visual survey has been conducted and Site has been checked for Concealed Services |  |  |
| Electronic survey of excavation area has been carried out and Services marked on Site |  |  |
| All known Services have been marked on to a current drawing which is available on Site |  |  |

Special conditions of Permit Issue (use back of Permit if insufficient room) Note: Identified or suspected Services and anomalies shall be listed individually with methodologys to control them in this section and where required, transferred into a JHA or SWMS.

| Agreed/attached additional Permits / plans / checklists / Controls |  |  |  |
| --- | --- | --- | --- |
| Scheduled outage Plan required? | Isolation / earthing / energy dissipation / drain | Confined Space | Other |

| Authorisation handover – permission to commence work |  |  |  | Date: |  |  | Time: |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Authorised Issuing Officer (AIO) (Site Supervisor) – I acknowledge that the work Risk Controls, timing, conditions are acceptable, that any isolations, earthing, energy dissipation, draining and worksite delineation is in place and give permission to commence work. |  |  |  |  |  |  |  |  |
|  | Name |  | Signature |  |  | Contact number |  |  |
| Person in Charge (PIC) – I accept the accountabilities of this role and agree to lead in accordance with WNR HSE system requirements and apply agreed Risk Controls as described above and/or as detailed in attachments. |  |  |  |  |  |  |  |  |
|  | Name |  | Signature |  |  | Contact number |  |  |

| Sign off - handback | Date: | Time: |
| --- | --- | --- |
| The Worksite has been left in a safe and operable condition, all other Risk Control Permits have been closed.. | PIC |  |
| All work has been completed as requested. | AIO |  |