| Permit to Work ID No. (if used) | PTW _________________________________ / _____ |  |  |  |
| --- | --- | --- | --- | --- |
| SWMS No. |  |  |  |  |
| Location / equipment / Worksite | Space to be entered |  |  |  |
| Brief description / scope of work ( attach more detailed scope if required ) |  |  |  |  |
| NOTE: SWMS must be prepared prior to completing this section |  |  |  |  |
| Requested / planned date and duration of work | Date: |  | Duration: |  |
| Key Hazard identification and Controls required ( Take 5, JHA and SWMS) |  |  |  |  |
| Key Hazards |  | Controls |  | N/A |
| Can this Space be Impacted by other work areas near by e.g.: traffic, hot work? |  |  |  |  |
| Can the work in this area impact other works and/or workers? |  |  |  |  |
| Are signage and / or barriers required to delineate and restrict access to the worksite? |  |  |  |  |
| Is atmospheric testing required? (refer to atmospheric testing sheet) |  |  |  |  |
| Is fall arrest or restraint equipment required? (e.g. lanyard. Inertia reel, harness) |  |  |  |  |
| Is lighting required? AC DC |  |  |  |  |
| Air supplied respiratory equipment is available for use where: - The atmosphere in the confined space does not have a safe level of oxygen; or - The atmosphere in the space has a harmful concentration of an airborne contaminant; or - There is a serious risk of the atmosphere in the space becoming affected in the way referred to in paragraph (a) or (b) while a worker is in the space. |  |  |  |  |
| Is there a need for forced air ventilation given the potential for atmospheric contamination (e.g. Chemicals, gas, internal combustion engines)? |  |  |  |  |
| Communication method: Verbal Radio Hand Signals Phone Whistle Horn Other_________________________________________ |  |  |  |  |
| NOTE: This checklist must form part of the overall reference documentation for the scope of works. No Person shall enter, supervise or act as a safety observer without holding nationally recognised Confined Space Entry training. |  |  |  |  |

| EMERGENCY EQUIPMENT REQUIRED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Overhead Crane Hauling system 4:1 Rope Rescue Kit Rescue tripod |  |  |  |  | Anchor overhead e.g. Beam Supporting Strut Supporting Colum Rescue Stretcher |  |  |  |  |  | Head Lamp / Torch Rescue strop Spreader bar Full Body Harness Breathing apparatus |  |  |  |  |
| Other: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| EMERGENCY ACTIONS (Refer To Relevant Adverse Event Response Plan) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Confined Space Safety Observer to notify Incident Controller. - Incident Controller to apply actions as defined by Emergency Response Plan and as detailed in the SWMS. - Incident Controller to determine if first aid can be provided without restriction in the confined space of if the casualty needs to be retrieved from the confined space - No person shall enter a confined space to render first aid and effect a rescue unless - The conditions of the Permit to Work are met and - The atmospheric conditions have been confirmed to support life or - Breathing Apparatus is used to access the space. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The established emergency procedure has been practised as necessary to ensure that it is efficient and effective. |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  | No |
| Safety Observer Competent: Yes No |  |  |  |  |  |  | Name: |  |  |  |  |  |  |  |  |
| Authorisation handover – permission to commence work |  |  |  |  |  |  | Date: |  |  |  |  | Time: |  |  |  |
| Person in Charge – I acknowledge that the work Risk Controls, timing, conditions are acceptable, that any Isolations, earthing, energy dissipation, draining, Worksite delineation, Emergency Preparedness, entry and exit tracking, retrieval equipment and atmospheric testing is in place and give permission to commence work. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Name |  |  |  |  | Signature |  |  |  | Contact number |  |  |  |  |  |
| Restricted Area Worker – I accept the accountabilities of this role and agree to lead in accordance with Site standards and apply agreed Risk Controls as described above and / or as detailed in attachments. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Name |  |  |  |  | Signature |  |  |  | Contact number |  |  |  |  |  |

| Sign off – Handback | Date: | Time: |
| --- | --- | --- |
| The work area has been left in a safe and operable condition and all Workers are clear of Confined Space and safe. | Restricted Area Worker |  |
| All work has been completed as requested and all Workers are clear of Confined Space and safe. | Person in Charge |  |

Confined Space Signature Sheet - Work Party

- I understand the scope of work, the Hazards and Risks present and introduced and commit to fully implementing the agreed precautions and Control Measures.

- I have been inducted in appropriate safe work practices and the Worksite introduction has provided me with an understanding of the Hazards present on the Worksite.

- I am Confined Space trained and competent to carry out the work and role required of me.

| Permit to Work ID No. (if used) |  | PTW ________________________________________________ / _____ |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Work Party Members |  |  |  |  |  |  |  |
| Name ( print ) | Sign on |  |  |  | Sign off |  |  |
|  | Signature |  | Time | Date | Signature | Time | Date |

Sheet    _________       of     _________

Confined Space Signature Sheet – Safety Observer

- I understand the scope of work, the hazards and risks present and introduced, and commit to fully implementing the agreed precautions and control measures.

- I have been inducted in appropriate safe work practices and the work site introduction has provided me with an understanding of the hazards present on the work site.

- I am competent ( and ticketed where legally required ) to carry out the work and role required of me

- I fully understand the role and responsibilities of a safety observer.

- I shall perform the role of a safety observer exclusively and not perform any other task related to the work activity.

| Permit to work ID No. | PTW ______________________________________________ / _____ |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Safety Observer |  |  |  |  |  |  |  |
| Name ( Print ) |  | Sign on |  |  | Sign off |  |  |
|  |  | Signature | Time | Date | Signature | Time | Date |

Sheet    _________       of     _________

Confined Space - Atmospheric Testing Sheet

| Permit to Work ID No. (if used) |  |  |  |  |  |  |  |  | PTW ________________________________________________ / _____ |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Atmospheric Testing (continuous monitoring should be used) |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Results prior to initial entry | Results | Results | Results | Results | Results |  | Results | Results | Results | Results | If alarm operated, record readings | Record the min/max readings |  |
|  |  | Time |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen (O2) normal |  | 20.9% (19.5 – 23.5) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Flammability LEL |  | <5% LEL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hydrogen Sulphide H2S |  | <10 ppm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Carbon Monoxide CO |  | <30 ppm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other (specify) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Testers name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Testers signature |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Ventilation: | Natural Positive mechanical (push good air in) Negative mechanical (suck bad air out) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |