| Audit Location, date and time |  | Audit team |  |
| --- | --- | --- | --- |
| Technicians |  | Description of audit (job) |  |

| No. | Audit Topic and questions | Result (S, OFI, min NC, Maj NC, NA) | Comments |
| --- | --- | --- | --- |
| 1 | Before the Job - Job Planning– auditor may need to ask retrospectively |  |  |
| 1 | Has the job been planned or is it a break down? |  |  |
| 2 | Who has planned the job making sure tooling and equipment is suitable and adequate |  |  |
| 3 | What documentation has been produced to prepare for the technical, safety and environmental aspects of the job? |  |  |
| 4 | Do the technicians planned have the necessary technical competencies? Have they performed the job before? Do they need any support or has any been planned? |  |  |
| 5 | Has a Person in Charge been assigned? Do they hold the relevant skills and experience? |  |  |
| 6 | Could the planning process be improved in any way? |  |  |
| 7 | General comments |  |  |

| No. | Audit Topic and questions | Result (S, OFI, min NC, Maj NC, NA) | Comments |
| --- | --- | --- | --- |
| 2 | Risk Management– auditor may need to ask retrospectively |  |  |
| 1 | What is the risk level of the job and how has it been determined? |  |  |
| 2 | Is the level of risk management appropriate, too high or too low? |  |  |
| 3 | Is the risk assessment documented? |  |  |
| 4 | Are the base risk assessment documents the most up to date? Does the work group know where to get the most up to date versions (ask)? |  |  |
| 5 | Who completed the risk assessment and do you consider them competent to prepare the risk assessment (ask them) |  |  |
| 6 | When the risk assessment was last reviewed, before the job? |  |  |
| 7 | Does the risk assessment cover all aspects of the job? Are there any significant omissions or missing job steps. |  |  |
| 8 | If there are any documents referred to in the risk assessment, are they attached? |  |  |
| 9 | Have all the relevant aspects (safety, technical, environmental) flowed through into the risk assessment? |  |  |
| 10 | Does the risk assessment deal with communications, drop zone management and height safety (if turbine related) and emergency response/plans or procedures. |  |  |
| 11 | Do the work party intend to take the risk assessment documentation to the location of the job? |  |  |
| 12 | General comments |  |  |
| No. | Audit Topic and questions | Result (S, OFI, min NC, Maj NC, NA) | Comments |
| 3 | On the Day - Immediately before the job– auditor may need to ask retrospectively |  |  |
| 1 | Do the work party appear well prepared/ organised? |  |  |
| 2 | Do they have all the required tools, PPE? |  |  |
| 3 | Do they have all the documentation for the job? JHA, permit/s, work instructions, emergency response plans, any other technical instructions? |  |  |
| 4 | Have the work party been through the documentation and signed off in the necessary places? |  |  |
| 5 | Have any additional items been added to the risk assessment because an ‘on the day’ risk been identified and document? |  |  |
| 6 | General comments |  |  |

| No. | Audit Topic and questions | Result (S, OFI, min NC, Maj NC, NA) | Comments |
| --- | --- | --- | --- |
| 4 | Competency |  |  |
| 1 | Do the work party hold all the necessary competencies (e.g. inductions, other internal training like PIC, IP and others like first aid etc.)? |  |  |
| 2 | Do the work party hold all the skill and competencies to perform the job (technical, practical)? |  |  |
| 3 | Do the work party feel competent in what they are to do or are doing? |  |  |
| 4 | Do the work party feel supported e.g. if something goes wrong, if any technical practical or other advice is required? |  |  |
| 5 | General comments |  |  |

| No. | Audit Topic and questions | Result (S, OFI, min NC, Maj NC, NA) | Comments |
| --- | --- | --- | --- |
| 5 | Execution of the task – auditor may need to ask retrospectively |  |  |
| 1 | Are the wind speeds and forecast weather conditions ok, has this been checked? |  |  |
| 2 | All PPE for the task available or being worn? |  |  |
| 3 | All relevant documentation in hand? |  |  |
| 4 | Communication devices operating and communication occurring? |  |  |
| 5 | First aid, fire extinguisher etc. present and available. |  |  |
| 6 | Appropriate pre-start checks done on lift, hoist? |  |  |
| 7 | Drop zone established, considered if this might change during the course of the job? |  |  |
| 8 | Harnesses and lifting gear inspected and checked prior to use? |  |  |
| 9 | Are harnesses, lifting gear, bags serviceable, in test date and defect free? |  |  |
| 10 | SF6 gauge checked on entry to turbine base. |  |  |
| 11 | Any tools in appropriate carry bags? |  |  |
| 12 | If climbing personal items stowed effectively? |  |  |
| 13 | If climbing, bag weights appropriate? |  |  |
| 14 | Nacelle or other workspace clean and tidy on entry? |  |  |
| 15 | Any isolations performed? |  |  |
| 16 | Were isolation completed correctly – locked, tagged? |  |  |
| 17 | Through the duration of the work of inspection, did the work party communicate effectively? |  |  |
| 18 | Did the work crew need to communicate with site? If so was it effective/ adequate? |  |  |
| 19 | If a PIC was designated, did they effectively perform that role? |  |  |
| 20 | Did the work site remain orderly throughout the task or was it orderly on inspection? |  |  |
| 21 | When required, were loose items retrained to prevent them from potentially falling? |  |  |
| 22 | Did the work party have the correct tools? |  |  |
| 23 | Were the tools adequate, serviceable, defect free, tested and tagged? |  |  |
| 24 | Manual handling and repetitive tasks performed appropriately? |  |  |
| 25 | Were any rest breaks required? |  |  |
| 26 | Was fatigue an issue of consideration? |  |  |
| 27 | Overall, was the work consistent with the planning and risk assessment documentation? Was it referred to during the work? |  |  |
| 28 | Were there any side tasks done that should have triggered a rethink (re planning, safety, competency etc.)? |  |  |
| 29 | General comments |  |  |

| No. | Audit Topic and questions | Result (S, OFI, min NC, Maj NC, NA) | Comments |
| --- | --- | --- | --- |
| 6 | General items – side items to be covered if possible? |  |  |
| 1 | Was signage adequate in the WTG? |  |  |
| 2 | Was access to the site ok – roads, hardstand, ladder, stairs? |  |  |
| 3 | Was the emergency equipment in the nacelle and in appropriate condition? |  |  |
| 4 | Were there any noteworthy hazards (if so do an incident report)? |  |  |
| 5 | General comments |  |  |

| Auditors use Only | Date proposed close out | Evidence required for close out |
| --- | --- | --- |
| Non-Conformances identified: Critical: Major: Minor: Opportunities for Improvement: Satisfactory: |  |  |
| Auditors Role: | Signature: | Date: |

Ratings of non-conformance: Major (Maj), Minor (Min), Opportunity for Improvement (OFI), Satisfactory (S), Not Applicable (N/A)