| Permit to Work ID No. (if used) | PTW ____________ ___________________/ _____ |  |  |  |
| --- | --- | --- | --- | --- |
| Location/Equipment/Worksite: |  |  |  |  |
| Brief description/scope of work (attach more detailed scope if required) |  |  |  |  |
| Requested/planned date and duration of work | Date: |  | Duration: |  |
| Key Hazard identification and Controls required ( Take 5 and/or JHA or SWMS to be used to identify ) |  |  |  |  |
| Key Hazards |  | Controls |  | N/A |
| Smoke detectors isolated? (VESDA; BEAM MASTER; other) |  |  |  |  |
| If working in a Confined Space has a Confined Space Entry Permit been issued? |  |  |  |  |
| Spark containment in place? |  |  |  |  |
| Screening for welding flash prevention in place? |  |  |  |  |
| Is area clean and free of combustible materials for a distance of at least 12m (fuels, vapours, hydrocarbons, aerosols, other) and if not are there barriers put in place? |  |  |  |  |
| Have you considered combustibles at different levels than your work space that sparks could reach or heat transfer through levels/walls creating a potential for combustion developing out of sight? |  |  |  |  |
| Any other precautions (e.g. could Hot Work fumes or grinding sparks affect those working in adjacent areas)? |  |  |  |  |
| Drains in area to be covered |  |  |  |  |
| Have all potential health and environmental Hot Work hazards been identified and controlled? e.g. Asbestos dust from grinding, lead paint, fumes, discharge of toxins into the environment? |  |  |  |  |
| Is there appropriate firefighting equipment at the Hot Work Site? e.g. Hose + pump / extinguisher – fully charged, in date and ready? |  |  |  |  |
| Should the area be kept wet to reduce the fire risk? |  |  |  |  |
| If Hot Work is to be done outdoors it must be approved by the site supervisor and, - If done during a Fire Permit period, the work must comply with the Tasmanian Fire Service Hot Work Guideline. - Must not take place during Total Fire Ban period. www.fire.tas.gov.au |  |  |  |  |
| Safety Observer has been nominated, shown how to use the fire-fighting equipment and the Emergency procedure? Watch period minimum 30 minutes after completion of the work and maybe required for several hours in specific cases. |  |  |  |  |

| Agreed/attached additional permits / plans / checklists/Controls |  |  |  |
| --- | --- | --- | --- |
| Outage planned capacity restricted - if Required | Isolation / earthing / energy dissipation / drain | Confined Space Permit | Fire Permit |

| Authorisation handover – permission to commence work |  |  |  | Date: |  |  | Time: |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Person in Charge/Site Supervisor – I acknowledge that the work Risk Controls, timing, conditions are acceptable, that any isolations, earthing, energy dissipation, draining and worksite delineation are in place and give permission to commence work. |  |  |  |  |  |  |  |  |
|  | Name |  | Signature |  |  | Contact number |  |  |
| Name Contact number Signature Competent Person – I accept the accountabilities of this role and agree to lead in accordance with Site standards and apply agreed Risk Controls as described above and/or as detailed in attachments. Safety Observer – I accept the accountabilities of this role and are confident in the use of the firefighting equipment and familiar with the emergency procedure. |  |  |  |  |  |  |  |  |
|  | Name |  | Signature |  |  | Contact number |  |  |

| Sign Off - Handback | Date: | Time: |  |
| --- | --- | --- | --- |
| The work area has been left in a safe and operable condition and the Site has been monitored for at least 30 minutes after completion of work to ensure there are no signs of fire. | Safety Observer Competent Person |  |  |
| All work has been completed as requested. | PIC/Site Supervisor |  |  |